Spectroscopic Pathology Pictorial Documentation

Feb 2023

## Purpose

The purpose of this document is to provide insight into the desired procedure to collect skin data using a spectroscopic probe. Images are provided to describe each step.

## Setup

The physical setup can be seen below. The stage moves in the x and y using manual fine control knobs. The stand moves in the z using manual knobs. The probe is placed in the stand and the sample is placed on the stage.

Probe

Stage

Stand

## Procedure

- Tissue paper is placed in the centre of the stage

- The skin specimen is placed atop the tissue paper in the centre of the stage

- Optical imaging (photography) of the specimen. Please ensure the specimen and any measurement references are fully visible.

- Position the region of interest (ROI) under the probe using the two knobs on the stage. The laser should directly illuminate the ROI.

- Once in position.

  - Lower the probe until it is within 5mm of the tissue

    - Closer = smaller collection area = cleaner readings.

    - Closer = signal

    - The probe should not touch the tissue surface.

  - Tell the computer operator the tissue type. (Cancer, healthy)

  - The operator will request the probe be lowered or raised to achieve

optimal signal strength.

- Once confirmed the operator will record the region of interest for 1 second

  - Repeat steps 4-6 for all regions of interest.

We will repeat steps 1 – 6 for each tissue sample.